City of Friendswood

Standard Plat Notes
1. Sidewalks and ADA ramps are required along all streets unless the street meets an exception allowed by Friendswood City Code Chapter 70-64. The Developer must install sidewalks and ADA ramps along reserves and common areas prior to the City Council’s acceptance of the subdivision infrastructure. When sidewalks are required, they shall be a width of no less than four feet and comply with Federal, State, and Local requirements.

2. No residential, commercial or industrial structure shall be permitted to be built nearer than 150 feet from any well or related facility, other than structures necessary to operate the well or facility.

3. Except for low-pressure distribution system pipelines as defined in Chapter 26, of the Friendswood City Code, no residential, commercial or industrial structure shall be erected or moved to a location nearer than 50 feet to any pipeline, other than structures necessary to operate the pipeline. 
4. The City of Friendswood shall not be responsible for maintenance of private streets (driveways, sidewalks, and emergency access easements), waterlines, sanitary sewer lines, storm sewer facilities (detention ponds, drainage easements, outfalls and swales), recreational areas, reserves and other private facilities that are within private easements; the property owner shall be responsible for these items.  The City of Friendswood shall be responsible for maintenance of public streets, sidewalks, street signs, waterlines, sanitary sewer lines, storm sewer facilities, drainage easements, outfalls and swales that are within the public right-of-way or within public and\or exclusive easements.  The maintenance of public streetlights shall be the responsibility of the electric provider.
5. All utility companies have been contacted and the easements shown on the plat constitute all the easements required by the utility companies for their operations. 
6. The finished floor elevations of all structures shall be located above the base flood elevation established by FEMA, and as prescribed in the Flood Damage Prevention Ordinance of the City of Friendswood, Texas.  
7. Any and all right of way islands located within the boundaries of this plat, even if not shown on the face of the plat, shall be maintained by the property owner. 
8.
All existing pipelines or pipeline easements through the subdivision have been shown. 
OR  
There are no existing pipelines or pipeline easements within the limits of this subdivision. 
Rev. 1/06/2026 BB

